CORRECTIVE ACTION PROCEDURE

SOP

| 21/04/26 | 00 | Draft Preparation |  | Uvaivi Okwaraeke CQHSE Manager | Dr. Emmanuel Okon Managing Director |
| --- | --- | --- | --- | --- | --- |
| Date | Rev | Issue Status | Prepared | Reviewed | Approved |

REVISION HISTORY

| 00 | 21/04/2026 | Draft Preparation |
| --- | --- | --- |
| Rev | Date | Notes |

Table of Contents

1.	Purpose	4

2.	Scope	4

3.	References	4

4.	Acronyms and Definitions	4

5.	Responsibilities	4

6.	Procedure	4

6.1	Initiation of corrective action	4

6.2	Root cause analysis	4

6.3	Action planning	5

6.4	Implementation and verification	5

6.5	Closure and learning	5

7.	Exceptions / Hold Conditions	5

8.	Records	5

# 1.	Purpose

The purpose of this procedure is to define the controlled process for control for corrective action procedure so that activities are consistent, traceable, and technically valid.

# 2.	Scope

This procedure applies to all laboratory personnel and support functions involved in corrective action procedure for in-laboratory or field activities where applicable.

# 3.	References

  - ISO/IEC 17025:2017 – General requirements for the competence of testing and calibration laboratories.

  - QM-001 – Quality Manual.

  - Overall SOP-Flow Metering Laboratory Standard Procedure.

  - Applicable Customer requirement and approved forms or templates.

# 4.	Acronyms and Definitions

| Term | Definition |
| --- | --- |
| PO | Purchase Order or equivalent customer authorization to proceed. |
| Technical Review | Review performed by authorized personnel to confirm technical validity and completeness. |
| Controlled Record | Record retained as evidence of an activity performed under approved requirements. |
| Nonconformity | Non-fulfilment of a requirement or deviation from an approved control. |

# 5.	Responsibilities

  - Laboratory Manager / Lab Head: Overall Implementation and escalation decisions.

  - Technical Personnel: Performance of assigned activities in accordance with approved requirements.

  - Quality Function: Monitoring compliance, records and improvement actions.

  - Commercial / Support Functions: Provision of controlled inputs and evidence relevant to the procedure.

# 6.	Procedure

## 6.1	Initiation of corrective action

Corrective action may arise from complaints, audits, nonconforming work, data trends, or management review.

## 6.2	Root cause analysis

The issue shall be investigated to determine underlying causes rather than only symptoms.

## 6.3	Action planning

Actions shall address containment, correction, prevention of recurrence, ownership, and due dates.

## 6.4	Implementation and verification

Implemented actions shall be verified for effectiveness using objective evidence.

## 6.5	Closure and learning

Closed actions shall be recorded and any broader lessons incorporated into risk and improvement processes.

# 7.	Exceptions / Hold Conditions

- Incomplete, conflicting, or unapproved inputs

- Lack of competent personnel, suitable facilities, or valid supporting resources

- Commercial, contractual, or technical discrepancies not yet resolved

- Detected nonconformity, risk, or abnormal condition affecting validity or delivery

# 8.	Records

- Corrective action request.

- Root cause analysis record.

- Effectiveness review evidence.

- Approved issue and revision history.

- Relevant forms, registers, and controlled templates.

- Review, approval, and communication records.